## 07in_ST7
instructions | Item | Comment | Input | units | additional notes | COLOR CODE
|  | Exoplanet: | WASP-114 b |  |  | required
|  | Observer: | Ryan Morris |  |  | optional
pre-filled
Use the website to find the needed info and copy/paste the values (as text only). |  | Host Star/Exoplanet Information: | (click here) |  | exoplanets.org/ | post-obs
| 1 | RA: | 21 50 39.74
| 2 | Dec: | 10 27 46.9
| 3 | Period (days): | 1.5488
| 4 | R*:
| 5 | T eff :
| 6 | V mag: | 12.743
| 6a | Suggested range of comp stars: | 12.303 to 13.493 mag
| 7 | Link to Reference Paper (optional):
To get the Ingress and Egress, COPY the start, mid, end times from the (ETD or other) prediction (see sample right) over to the utility (use the UTC2BJD applet). Format as YYYY MM DD HH MM SS, with each one on a line (left box on page). Use your location information (below) and the star coordinates (above) in the form on the right side (of page). |  | Date /Time Information: | (click here) |  | astroutils.astronomy.ohio-state.edu/time/
| 8 | Date of Observation (UT): | 2017-10-31
| 8a | time standard: | BJD_TDB |  | SAMPLE:
| 9 | Ingress: | 2458058.4832
| 10 | Egress: | 2458058.5992
| 10a | Predicted midpoint: | 2458058.5412 |  | 2458058.5409 | BJD-TDB | from time conv page
| 11 | Model fit midpoint (Tc): |  | BJD_TDB | 2458058.535 | Tmid HJD | from Czech pred page (see sample)
| 11a | Approximate difference: |  | minutes
Enter your site coordinates as dd mm ss.s in Column D and the decimal coordinates in Col E. |  | Observing Location: | HMS | DD
| 12 | Latitude: | 39 00 07.50 | 39.0021
| 13 | Longitude: | 76 57 21.50 | 76.956
| 13a | Elong: | 283 02 38.5 | 283.044
| 14 | Altitude (m): | 55.778
Enter your equipment information. A sample set of values is input already. |  | Equipment Information:
| 15 | Telescope make/model/type: | AP 7" refractor
| 16 | Aperture (mm): | 178
| 17 | Focal length (mm): | 1600
| 18 | Make/model of CCD Camera: | SBIG ST-7
| 19 | Gain (e-/ADU): | 2.3
| 20 | Readout noise (e-): | 15
| 21 | Dark current (e-/pixel/sec): | 1
| 22 | non-linear point (ADUs): | 45000
|  |  | X | Y
| 23 | No. of pixels: | 765 | 510 | unbinned
| 24 | Pixel size (microns): | 9 | 9 | unbinned
| 25 | Binning used: | 1 | 1
| 25a | FOV (arcmin): | 14.7941 | 9.8628
| 25b | Image scale (arcsec/pixel): | 1.1602 | 1.1602
After observing, fill this in. |  | Observation Information:
| 26 | Exposure time (secs): | 45
| 27 | Filter used: | r'
| 28 | # of science images (total): | 258
| 29 | # not used: | 75 | why not used ==> | Post meridian flip did not match up, and some guiding problems at the end of pre meridian flip
| 30 | # used: | 183
If observing a known exoplanet transit, go to the webpage and select the planet, fill in the T(eff) (top of sheet), and which filter you used to get the Limb Darkening u1 and u2 values. The initial FWHM settings (rows 33-36) are retrieved from AIJ by opening an image, clicking on a star, and then under "Analyse," select "plot seeing profile." Record the actual settings used in rows 37-39. |  | Analysis Information:
|  | Limb darkening coefficients: | (click here) |  | astroutils.astronomy.ohio-state.edu/exofast/limbdark.shtml
| 31 | Quadratic LD u1:
| 32 | Quadratic LD u2:
| 33 | FWHM (arcseconds): | 3.5032
| 33a | FWHM (pixels): | 3.0194
Initial Settings:
| 34 | FWHM pixel multiplier:
| 34a | Aperture radius: | 0
| 35 | Inner annulus radius:
| 36 | Outer annulus radius: | #VALUE!
Final Settings:
| 37 | Aperture radius: | 6
| 38 | Inner annulus radius: | 11
| 39 | Outer annulus radius: | 17
Note on G20: optional: since you convert the mid time, paste it here.
Note on G21: optional: This I usually copy from the ETD site. After getting a list of predictions for a night, you click on a particular star and get the listing for the next days. The first in the list is usually the time you are observing and has the HJD value.

## links
predictions: | var2.astro.cz/ETD/predictions.php
target details: | exoplanets.org/
time conversion: | astroutils.astronomy.ohio-state.edu/time/
limb darkening: | astroutils.astronomy.ohio-state.edu/exofast/limbdark.shtml

## dropdown_options
drop down options
time standard | HJD_UTC
BJD_TDB
filters